## Info
Version 2024-05-29
Customer Name
Customer Address
Customer Phone
Customer Contact
Price Discount
Project
Ship to: Address
Award Date
Quote Date
Comments
Power Cable & Equipment Configurator Instructions
Info Tab
1. Enter the customer information
2. Name your project
3. Ship to address is required when a quote turns to a project
Main Tab
Green fields are required fields
Yellow fields are for overriding default Conduit Size or Wire Qty/Awg and for adding Notes
1. Cable information, columns B, C, & D are optional (to be used for labeling)
2. Use pull down arrow for Receptacle
Field Wire are listed at bottom of receptacle listing. Format is "F" followed by the Wire Count and Awg followed by the Breaker Pole and Amp. A 4#12awg wires with a 2 pole 15 Amp Breaker would be "F4122-15"
3. Tab to cable length (enter in 5’ increments)
4. If you want to price with breakers, use the drop down arrow in column I to enter brand and
style. (Poles, amps, wires fill in automatically) If no breaker, leave blank.
5. The color will automatically default to blue.
(You may use the drop down arrow to change the color.)
6. Add additional information in notes
If you want multiples of the same cable without specific labeling information, please include the quantity in the notes field to avoid entering the same cable many times.
7. Print area can be set to 50 - 1000 cables with buttons on top of sheet
Custom Receptacles can be entered, but Spec Sheet tab must be completed referencing the Cable No
Spec Sheet Tab
This sheet can be printed to manually enter information into your worksheet
Software License Agreement
This is a legal agreement between you and PDU Cables, Inc. covering your use of PDU Configurator Software (the “Software”). Be sure to read the following agreement before using the Software. BY USING THE SOFTWARE, YOU ARE AGREEING TO BE BOUND BY THE TERMS OF THIS AGREEMENT. IF YOU DO NOT AGREE TO THE TERMS OF THIS AGREEMENT, DO NOT USE THE SOFTWARE AND DESTROY ALL COPIES IN YOUR POSSESSION.
The Software is owned by PDU Cables, Inc. and is protected by United States copyright laws and international treaty provisions. Therefore, you must treat the Software like any other copyrighted material (e.g., a book or musical recoding). You may not rent or lease the Software, nor may you modify, adapt, translate, reverse engineer, decompile, or disassemble the Software. If you violate any part of this agreement, your right to use this Software terminates automatically and you must then destroy all copies of the Software in your possession.
The laws of the State of Minnesota shall govern this Agreement. If for any reason a court of competent jurisdiction finds any provision of the Agreement, or portion thereof, to be unenforceable, that provision of the Agreement shall be enforced to the maximum extent permissible so as to affect the intent of the parties, and the remainder of this Agreement shall continue in full force and effect.
The Software and documentation is provided with RESTRICTED RIGHTS. Use, duplication, or disclosure by the Government is subject to restrictions as set forth in subdivision (b)(3)(ii) of the Rights in Technical Data and Computer Software clause as 252.227-7013. Manufacturer is PDU Cables, Inc., 5401 Smetana Drive, Minnetonka, MN 55343.
PDU Cables, Inc., 5401 Smetana Drive, Minnetonka, MN 55343, United States of America. (866) 631-4238 telephone, (800) 336-2801 facsimile.

## Main
Power Cable Request Form | [18 empty] | Power Cable Request Form
Customer Name: |  |  |  |  | Customer Contact: |  |  |  |  | Due Date:
Project: |  |  |  |  | Phone Number: |  |  |  |  | Quote Date:
Set Print Area thru Cables: | [12 empty] | Length: | [7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Cable No. | Cable Information |  |  | Receptacle or Field Wire Type | Conduit Length Ft. | Volts/ Amps | Phase | Breaker |  |  |  | Conduit |  |  | Wires Qty/Awg |  | Wire Tail Length Ft. | Box Mounting Hdwr | Notes |  | Receptical | Volts/Amps | Phase | Poles | Amps | Conduit | Wire |  |  |  |  | Cable |  | Brands |  | Yes/No |  | Conduit |  | Colors |  | Wire |  | Box
[12 empty] | Size |  | Color | [6 empty] | 1: Type; 6: Size; 7: Qty/Awg |  | Length | [5 empty] | Size |  |  |  | Qty/Awg |  | Mounting
| PDU-PANEL | Circuit # | Equipment |  |  |  |  | Brnd/Styl | Test Y/N | Poles | Amps | Stnd | Opt |  | Stnd | Opt | [27 empty] | HDW
1 | [19 empty] | 1 | 1: None | [12 empty] | 1 | None | ;;;-;;;
2 | [19 empty] | 2 | 3913 | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 1 | 1 | 1 | NONE | 1 | Yes | 1 | 1/2" | 1 | Blue | 1 | 10awg Min. | 2 | 1 1/2" Bolt | ;;;-;;;
3 | [19 empty] | 3 | 3913-U1 | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 2 | 2 | 2 | Sqd Bolt 10KAIC QOB | 2 | No | 2 | 3/4" | 2 | Red | 2 | 2#12,1#10g | 3 | 2" Bolt | ;;;-;;;
4 | [19 empty] | 4 | 3139-U2 | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 3 | 3 | 3 | SqD Bolt 22KAIC QOBVH |  |  | 3 | 1" | 3 | Yellow | 3 | 2#10, 1#8g | 4 | 3" Bolt | ;;;-;;;
5 | [19 empty] | 5 | 3914 | 208/15 | 3 | 3 | 15 | 1/2" | 4#12 |  |  |  | 4 | 4 | 4 | SqD Plug 10KAIC QO |  |  | 4 | 1 1/4" | 4 | Green | 4 | 2#8,1#10g | 5 | 3/4" Clamp | ;;;-;;;
6 | [19 empty] | 6 | 3933 | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 5 | 5 | 5 | SqD Plug 22KAIC QOVH |  |  | 5 | 1 1/2" | 5 | Orange | 5 | 2#6,1#10g | 6 | 1" Clamp | ;;;-;;;
7 | [19 empty] | 7 | 3934 | 208/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 6 | 6 | 6 | GE Bolt 10KAIC THQB |  |  | 6 | 2" | 6 | Black | 6 | 3#12 | 7 | 1 1/4" Clamp | ;;;-;;;
8 | [19 empty] | 8 | 7428-78 | 208/60 | 3 | 3 | 60 | 3/4" | 4#6 |  |  |  | 7 | 7 | 7 | GE Bolt 22KAIC THHQB |  |  | 7 |  | 7 | Gray | 7 | 3#12, 1#10g | 8 | 1 1/2" Clamp | ; ;;-;;;
9 | [19 empty] | 9 | JSC1034H (IBM F) | 208/100 | 3 | 3 | 100 | 1 1/4" | 4#3 |  |  |  | 8 | 8 | 8 | GE Plug 10KAIC THQL |  |  | 8 |  | 8 | White | 8 | 3#10 | 9 | 2" Clamp | ;;;-;;;
10 | [19 empty] | 10 | 1420R1 | 120/208/20 | 1 | 2 | 20 | 1/2" | 4#12 |  |  |  | 9 | 9 | 9 | GE Plug 22KAIC THHQL |  |  | 9 |  | 9 | Pink | 9 | 3#10, 1#8g | 10 | 1/4" Beam | ;;;-;;;
11 | [19 empty] | 11 | 1430R1 | 120/208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 10 | 10 | 10 | ABBProline |  |  | 10 |  | 10 | Purple | 10 | 3#10, 1#12g | 11 | Beam Clip | ;;;-;;;
12 | [19 empty] | 12 | 1450R1 | 120/208/50 | 1 | 2 | 50 | 3/4" | 4#8 |  |  |  | 11 | 11 | 11 | Cutler Hammer 10KAIC BAB |  |  | 11 |  | 11 | Brown | 11 | 3#8 | 12 | 2-Mt Ears | ;;;-;;;
13 | [19 empty] | 13 | CS8269 | 208/50 | 1 | 2 | 50 | 1/2" | 3#8 |  |  |  | 12 | 12 | 12 | Cutler Hammer 22KAIC QBHW |  |  |  |  | 12 | RWS | 14 | 3#8,1#10g | 13 | 4-Mt Ears | ;;;-;;;
14 | [19 empty] | 14 | CS8369 | 250/50 | 3 | 3 | 50 | 3/4" | 4#8 |  |  |  | 13 | 13 | 13 | Siemens Bolt 10K BL |  |  |  |  | 13 | RWA | 13 | 3#6 | 14 | C50 Bracket | ;;;-;;;
15 | [19 empty] | 15 | CS8264 | 208/50 | 1 | 2 | 50 | 1/2" | 3#8 |  |  |  | 14 | 14 | 14 | [7 empty] | 14 | 3#6, 1#8g | 15 |  | ;;;-;;;
16 | [19 empty] | 16 | CS8364C | 250/50 | 3 | 3 | 50 | 3/4" | 4#8 |  |  |  | 15 | 15 | 15 | [7 empty] | 15 | 3#6, 1#10g | 16 |  | ;;;-;;;
17 | [19 empty] | 17 | CS8364CA34 | 250/50 | 3 | 3 | 50 | 3/4" | 4#8 |  |  |  | 16 | 16 | [8 empty] | 16 | 4#10,1#8g | 17 |  | ;;;-;;;
18 | [19 empty] | 18 | 330C6W | 250/30 | 1 | 2 | 30/32 | 1/2" | 3#10 |  |  |  | 17 | 17 | [8 empty] | 17 | 4#12 |  |  | ;;;-;;;
19 | [19 empty] | 19 | 330R6W | 250/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 18 | 18 | [8 empty] | 18 | 4#10 |  |  | ;;;-;;;
20 | [19 empty] | 20 | 360C6W | 250/60 | 1 | 2 | 60 | 3/4" | 3#6 |  |  |  | 19 | 19 | [8 empty] | 19 | 4#2 |  |  | ;;;-;;;
21 | [19 empty] | 21 | 360R6W | 250/60 | 1 | 2 | 60 | 3/4" | 3#6 |  |  |  | 20 | 20 | [8 empty] | 20 | 4#3 |  |  | ;;;-;;;
22 | [19 empty] | 22 | 4100C9W | 250/100 | 3 | 3 | 100 | 1 1/4" | 4#3 |  |  |  | 21 | 21 | [8 empty] | 21 | 4#4 |  |  | ;;;-;;;
23 | [19 empty] | 23 | 420C9W | 208/20 | 3 | 3 | 20 | 1/2" | 4#12 |  |  |  | 22 | 22 | [8 empty] | 22 | 4#6 |  |  | ;;;-;;;
24 | [19 empty] | 25 | 420R9W | 208/20 | 3 | 3 | 20 | 1/2" | 4#12 |  |  |  | 24 | 23 | [8 empty] | 24 | 4#8 |  |  | ; ;;-;;;
25 | [19 empty] | 26 | 430C7W | 480/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 25 | 24 | [8 empty] | 25 | 4#8 1#10g |  |  | ;;;-;;;
26 | [19 empty] | 27 | 430R7W | 480/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 26 | 25 | [8 empty] | 26 | 5#10 |  |  | ;;;-;;;
27 | [19 empty] | 28 | 430C9W | 250/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 27 | 26 | [8 empty] | 27 | 5#12 |  |  | ;;;-;;;
28 | [19 empty] | 29 | 430R9W | 250/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 28 | 27 | [8 empty] | 28 | 5#2 |  |  | ;;;-;;;
29 | [19 empty] | 30 | 460C9W | 208/60 | 3 | 3 | 60 | 3/4" | 4#6 |  |  |  | 29 | 28 | [8 empty] | 29 | 5#4 |  |  | ;;;-;;;
30 | [19 empty] | 31 | 460R9W | 208/60 | 3 | 3 | 60 | 3/4" | 4#6 |  |  |  | 30 | 29 | [8 empty] | 30 | 5#6 |  |  | ;;;-;;;
31 | [19 empty] | 32 | 520C9W | 120/208v/20a | 3 | 3 | 20 | 1/2" | 5#12 |  |  |  | 31 | 30 | [8 empty] | 31 | 6#12 |  |  | ;;;-;;;
32 | [19 empty] | 33 | 520R9W | 120/208v/20a | 3 | 3 | 20 | 1/2" | 5#12 |  |  |  | 32 | 31 | [8 empty] | 32 | 6#10 |  |  | ;;;-;;;
33 | [19 empty] | 34 | 530C6W | 200/415v/30a | 3 | 3 | 30/32 | 1/2" | 5#10 |  |  |  | 33 | 32 | [8 empty] | 33 | 6#8 |  |  | ;;;-;;;
34 | [19 empty] | 35 | 530R6W | 200/415v/30a | 3 | 3 | 30/32 | 1/2" | 5#10 |  |  |  | 34 | 33 | [8 empty] | 34 | 6#6 |  |  | ;;;-;;;
35 | [19 empty] | 37 | 530C7W | 277/480v/30a | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 36 | 34 | [8 empty] | 36 | 6#4 |  |  | ;;;-;;;
36 | [19 empty] | 38 | 530R7W | 277/480v/30a | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 37 | 35 | [8 empty] | 37 | 6#2 |  |  | ;;;-;;;
37 | [19 empty] | 39 | 530C9W | 120/208v/30a | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 38 | 36 | [8 empty] | 38 |  |  |  | ;;;-;;;
38 | [19 empty] | 40 | 530R9W | 120/208v/30a | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 39 | 37 | [8 empty] | 39 |  |  |  | ;;;-;;;
39 | [19 empty] | 41 | 532C6W | 220/415v/30a | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 40 | 38 | [8 empty] | 40 |  |  |  | ;;;-;;;
40 | [19 empty] | 42 | 532R6W | 220/415v30a | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 41 | 39 | [12 empty] | ;;;-;;;
41 | [19 empty] | 43 | 560C6W | 220/415v/60a | 3 | 3 | 60 | 1" | 5#6 |  |  |  | 42 | 40 | [12 empty] | ;;;-;;;
42 | [19 empty] | 44 | 560R6W | 220/415v/60a | 3 | 3 | 60 | 1" | 5#6 |  |  |  | 43 | 41 | [12 empty] | ;;;-;;;
43 | [19 empty] | 45 | 560C7W | 277/480v/60a | 3 | 3 | 60 | 1" | 5#6 |  |  |  | 44 | 42 | [12 empty] | ;;;-;;;
44 | [19 empty] | 46 | 560R7W | 277/480v/60a | 3 | 3 | 60 | 1" | 5#6 |  |  |  | 45 | 43 | [12 empty] | ;;;-;;;
45 | [19 empty] | 47 | 560C9W | 120/208v/60a | 3 | 3 | 60 | 1" | 5#6 |  |  |  | 46 | 44 | [12 empty] | ;;;-;;;
46 | [19 empty] | 48 | 560R9W | 120/208v/60a | 3 | 3 | 60 | 1" | 5#6 |  |  |  | 47 | 45 | [12 empty] | ;;;-;;;
47 | [19 empty] | 49 | 5100C6W | 220/415v/100a | 3 | 3 | 100 | 1 1/4" | 5#3 |  |  |  | 48 | 46 | [12 empty] | ;;;-;;;
48 | [19 empty] | 50 | 5100R6W | 220/415v/100a | 3 | 3 | 100 | 1 1/4" | 5#3 |  |  |  | 49 | 47 | [12 empty] | ;;;-;;;
49 | [19 empty] | 51 | 5100C7W | 277/480v/100a | 3 | 3 | 100 | 1 1/4" | 5#3 |  |  |  | 50 | 48 | [12 empty] | ;;;-;;;
50 | [19 empty] | 52 | 5100R7W | 277/480v/100a | 3 | 3 | 100 | 1 1/4" | 5#3 |  |  |  | 51 | 49 | [12 empty] | ;;;-;;;
51 | [19 empty] | 53 | 5100C9W | 120/208v/100a | 3 | 3 | 100 | 1 1/4" | 5#3 |  |  |  | 52 | 50 | [12 empty] | ;;;-;;;
52 | [19 empty] | 54 | 5100R9W | 120/208v/100a | 3 | 3 | 100 | 1 1/4" | 5#3 |  |  |  | 53 | 51 | [12 empty] | ;;;-;;;
53 | [19 empty] | 55 | 515R1 | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 54 | 52 | [12 empty] | ;;;-;;;
54 | [19 empty] | 56 | 515R | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 55 | 53 | [12 empty] | ;;;-;;;
55 | [19 empty] | 57 | 5-15R | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 56 | 54 | [12 empty] | ;;;-;;;
56 | [19 empty] | 58 | 515R2 | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 57 | 55 | [12 empty] | ;;;-;;;
57 | [19 empty] | 59 | 515R DUPLEX | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 58 | 56 | [12 empty] | ;;;-;;;
58 | [19 empty] | 60 | 5-15R DUPLEX | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 59 | 57 | [12 empty] | ;;;-;;;
59 | [19 empty] | 61 | 520R1 | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 60 | 58 | [12 empty] | ;;;-;;;
60 | [19 empty] | 62 | 520R | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 61 | 59 | [12 empty] | ;;;-;;;
61 | [19 empty] | 63 | 5-20R | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 62 | 60 | [12 empty] | ;;;-;;;
62 | [19 empty] | 64 | 520R2 | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 63 | 61 | [12 empty] | ;;;-;;;
63 | [19 empty] | 65 | 520R DUPLEX | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 64 | 62 | [12 empty] | ;;;-;;;
64 | [19 empty] | 66 | 5-20R DUPLEX | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 65 | 63 | [12 empty] | ;;;-;;;
65 | [19 empty] | 67 | 520R4 | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 66 | 64 | [12 empty] | ;;;-;;;
66 | [19 empty] | 68 | 520R QUAD | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 67 | 65 | [12 empty] | ;;;-;;;
67 | [19 empty] | 69 | 5-20R QUAD | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 68 | 66 | [12 empty] | ;;;-;;;
68 | [19 empty] | 70 | 520R4-2 CIRC | 120/20 | 1 | 1 | 20 | 1/2" | 6#12 |  |  |  | 69 | 67 | [12 empty] | ;;;-;;;
69 | [19 empty] | 71 | 530R1 | 120/30 | 1 | 1 | 30 | 1/2" | 3#10 |  |  |  | 70 | 68 | [12 empty] | ;;;-;;;
70 | [19 empty] | 72 | 530R | 120/30 | 1 | 1 | 30 | 1/2" | 3#10 |  |  |  | 71 | 69 | [12 empty] | ;;;-;;;
71 | [19 empty] | 73 | 5-30R | 120/30 | 1 | 1 | 30 | 1/2" | 3#10 |  |  |  | 72 | 70 | [12 empty] | ;;;-;;;
72 | [19 empty] | 74 | 550R1 | 120/50 | 1 | 1 | 50 | 1/2" | 3#8 |  |  |  | 73 | 71 | [12 empty] | ;;;-;;;
73 | [19 empty] | 75 | 550R | 120/50 | 1 | 1 | 50 | 1/2" | 3#8 |  |  |  | 74 | 72 | [12 empty] | ;;;-;;;
74 | [19 empty] | 76 | 5-50R | 120/50 | 1 | 1 | 50 | 1/2" | 3#8 |  |  |  | 75 | 73 | [12 empty] | ;;;-;;;
75 | [19 empty] | 77 | 615R1 | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 76 | 74 | [12 empty] | ;;;-;;;
76 | [19 empty] | 78 | 615R | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 77 | 75 | [12 empty] | ;;;-;;;
77 | [19 empty] | 79 | 6-15R | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 78 | 76 | [12 empty] | ;;;-;;;
78 | [19 empty] | 80 | 615R2 | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 79 | 77 | [12 empty] | ;;;-;;;
79 | [19 empty] | 81 | 615R DUPLEX | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 80 | 78 | [12 empty] | ;;;-;;;
80 | [19 empty] | 82 | 6-15R DUPLEX | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 81 | 79 | [12 empty] | ;;;-;;;
81 | [19 empty] | 83 | 615R4 | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 82 | 80 | [12 empty] | ;;;-;;;
82 | [19 empty] | 84 | 615R QUAD | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 83 | 81 | [12 empty] | ;;;-;;;
83 | [19 empty] | 85 | 6-15R QUAD | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 84 | 82 | [12 empty] | ;;;-;;;
84 | [19 empty] | 86 | 620R1 | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 85 | 83 | [12 empty] | ;;;-;;;
85 | [19 empty] | 87 | 620R | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 86 | 84 | [12 empty] | ;;;-;;;
86 | [19 empty] | 88 | 6-20R | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 87 | 85 | [12 empty] | ;;;-;;;
87 | [19 empty] | 89 | 630R1 | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 88 | 86 | [12 empty] | ;;;-;;;
88 | [19 empty] | 90 | 630R | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 89 | 87 | [12 empty] | ;;;-;;;
89 | [19 empty] | 91 | 6-30R | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 90 | 88 | [12 empty] | ;;;-;;;
90 | [19 empty] | 92 | 9C33U0 | 208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 91 | 89 | [12 empty] | ;;;-;;;
91 | [19 empty] | 93 | 9C34U0 | 208/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 92 | 90 | [12 empty] | ;;;-;;;
92 | [19 empty] | 94 | 9C53U0 | 208/50 | 1 | 2 | 50 | 3/4" | 3#8 |  |  |  | 93 | 91 | [12 empty] | ;;;-;;;
93 | [19 empty] | 95 | 9C53U2 | 208/50 | 1 | 2 | 50 | 3/4" | 3#8 |  |  |  | 94 | 92 | [12 empty] | ;;;-;;;
94 | [19 empty] | 96 | 9C54U0 | 208/50 | 3 | 3 | 50 | 3/4" | 4#8 |  |  |  | 95 | 93 | [12 empty] | ;;;-;;;
95 | [19 empty] | 97 | 9C54U2 | 208/50 | 3 | 3 | 50 | 3/4" | 4#8 |  |  |  | 96 | 94 | [12 empty] | ;;;-;;;
96 | [19 empty] | 98 | 9C54U2/C75 | 208/50 | 3 | 3 | 50 | 3/4" | 4#8 |  |  |  | 97 | 95 | [12 empty] | ;;;-;;;
97 | [19 empty] | 99 | 9C54U2/C75 | 208/50 | 3 | 3 | 50 | 3/4" | 4#8 |  |  |  | 98 | 96 | [12 empty] | ;;;-;;;
98 | [19 empty] | 100 | 9C63U2 | 208/60 | 1 | 2 | 60 | 3/4" | 3#6 |  |  |  | 99 | 97 | [12 empty] | ;;;-;;;
99 | [19 empty] | 101 | L1420R1 | 120/208/20 | 1 | 2 | 20 | 1/2" | 4#12 |  |  |  | 100 | 98 | [12 empty] | ;;;-;;;
100 | [19 empty] | 102 | L1420R | 120/208/20 | 1 | 2 | 20 | 1/2" | 4#12 |  |  |  | 101 | 99 | [12 empty] | ;;;-;;;
101 | [19 empty] | 103 | L14-20R | 120/208/20 | 1 | 2 | 20 | 1/2" | 4#12 |  |  |  | 102 | 100 | [12 empty] | ;;;-;;;
102 | [19 empty] | 104 | L1430R1 | 120/208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 103 | 101 | [12 empty] | ;;;-;;;
103 | [19 empty] | 105 | L1430R | 120/208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 104 | 102 | [12 empty] | ;;;-;;;
104 | [19 empty] | 106 | L14-30R | 120/208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 105 | 103 | [12 empty] | ;;;-;;;
105 | [19 empty] | 107 | L1520R1 | 208/20 | 3 | 3 | 20 | 1/2" | 4#12 |  |  |  | 106 | 104 | [12 empty] | ;;;-;;;
106 | [19 empty] | 108 | L1520R | 208/20 | 3 | 3 | 20 | 1/2" | 4#12 |  |  |  | 107 | 105 | [12 empty] | ;;;-;;;
107 | [19 empty] | 109 | L15-20R | 208/20 | 3 | 3 | 20 | 1/2" | 4#12 |  |  |  | 108 | 106 | [12 empty] | ;;;-;;;
108 | [19 empty] | 110 | L1530R1 | 208/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 109 | 107 | [12 empty] | ;;;-;;;
109 | [19 empty] | 111 | L1530R | 208/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 110 | 108 | [12 empty] | ;;;-;;;
110 | [19 empty] | 112 | L15-30R | 208/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 111 | 109 | [12 empty] | ;;;-;;;
111 | [19 empty] | 113 | L2120R1 | 120/208/20 | 3 | 3 | 20 | 1/2" | 5#12 |  |  |  | 112 | 110 | [12 empty] | ;;;-;;;
112 | [19 empty] | 114 | L2120R | 120/208/20 | 3 | 3 | 20 | 1/2" | 5#12 |  |  |  | 113 | 111 | [12 empty] | ;;;-;;;
113 | [19 empty] | 115 | L21-20R | 120/208/20 | 3 | 3 | 20 | 1/2" | 5#12 |  |  |  | 114 | 112 | [12 empty] | ;;;-;;;
114 | [19 empty] | 116 | L2130R1 | 120/208/30 | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 115 | 113 | [12 empty] | ;;;-;;;
115 | [19 empty] | 117 | L2130R | 120/208/30 | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 116 | 114 | [12 empty] | ;;;-;;;
116 | [19 empty] | 118 | L21-30R | 120/208/30 | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 117 | 115 | [12 empty] | ;;;-;;;
117 | [19 empty] | 119 | L515R1 | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 118 | 116 | [12 empty] | ;;;-;;;
118 | [19 empty] | 120 | L515R | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 119 | 117 | [12 empty] | ;;;-;;;
119 | [19 empty] | 121 | L5-15R | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 120 | 118 | [12 empty] | ;;;-;;;
120 | [19 empty] | 122 | L515R2 | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 121 | 119 | [12 empty] | ;;;-;;;
121 | [19 empty] | 123 | L515R DUPLEX | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 122 | 120 | [12 empty] | ;;;-;;;
122 | [19 empty] | 124 | L5-15R DUPLEX | 120/15 | 1 | 1 | 15 | 1/2" | 3#12 |  |  |  | 123 | 121 | [12 empty] | ;;;-;;;
123 | [19 empty] | 125 | L520R1 | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 124 | 122 | [12 empty] | ;;;-;;;
124 | [19 empty] | 126 | L520R | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 125 | 123 | [12 empty] | ;;;-;;;
125 | [19 empty] | 127 | L5-20R | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 126 | 124 | [12 empty] | ;;;-;;;
126 | [19 empty] | 128 | L520R2 | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 127 | 125 | [12 empty] | ;;;-;;;
127 | [19 empty] | 129 | L520R1-2 CIRC | 120/20 | 1 | 1 | 20 | 1/2" | 6#12 |  |  |  | 128 | 126 | [12 empty] | ;;;-;;;
128 | [19 empty] | 130 | L520R-2 CIRC | 120/20 | 1 | 1 | 20 | 1/2" | 6#12 |  |  |  | 129 | 127 | [12 empty] | ;;;-;;;
129 | [19 empty] | 131 | L5-20R-2 CIRC | 120/20 | 1 | 1 | 20 | 1/2" | 6#12 |  |  |  | 130 | 128 | [12 empty] | ;;;-;;;
130 | [19 empty] | 132 | L530R1 | 120/30 | 1 | 1 | 30 | 1/2" | 3#10 |  |  |  | 131 | 129 | [12 empty] | ;;;-;;;
131 | [19 empty] | 133 | L530R | 120/30 | 1 | 1 | 30 | 1/2" | 3#10 |  |  |  | 132 | 130 | [12 empty] | ;;;-;;;
132 | [19 empty] | 134 | L5-30R | 120/30 | 1 | 1 | 30 | 1/2" | 3#10 |  |  |  | 133 | 131 | [12 empty] | ;;;-;;;
133 | [19 empty] | 135 | L530R1-2 CIRC | 120/30 | 1 | 1 | 30 | 1/2" | 6#10 |  |  |  | 134 | 132 | [12 empty] | ;;;-;;;
134 | [19 empty] | 136 | L530R-2 CIRC | 120/30 | 1 | 1 | 30 | 1/2" | 6#10 |  |  |  | 135 | 133 | [12 empty] | ;;;-;;;
135 | [19 empty] | 137 | L5-30R-2 CIRC | 120/30 | 1 | 1 | 30 | 1/2" | 6#10 |  |  |  | 136 | 134 | [12 empty] | ;;;-;;;
136 | [19 empty] | 138 | L615R1 | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 137 | 135 | [12 empty] | ;;;-;;;
137 | [19 empty] | 139 | L615R | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 138 | 136 | [12 empty] | ;;;-;;;
138 | [19 empty] | 140 | L6-15R | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 139 | 137 | [12 empty] | ;;;-;;;
139 | [19 empty] | 141 | L615R2 | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 140 | 138 | [12 empty] | ;;;-;;;
140 | [19 empty] | 142 | L615R DUPLEX | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 141 | 139 | [12 empty] | ;;;-;;;
141 | [19 empty] | 143 | L6-15R DUPLEX | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 142 | 140 | [12 empty] | ;;;-;;;
142 | [19 empty] | 144 | L620R1 | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 143 | 141 | [12 empty] | ;;;-;;;
143 | [19 empty] | 145 | L620R | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 144 | 142 | [12 empty] | ;;;-;;;
144 | [19 empty] | 146 | L6-20R | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 145 | 143 | [12 empty] | ;;;-;;;
145 | [19 empty] | 147 | L620R2 | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 146 | 144 | [12 empty] | ;;;-;;;
146 | [19 empty] | 148 |  | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 147 | 145 | [12 empty] | ;;;-;;;
147 | [19 empty] | 149 |  | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 148 | 146 | [12 empty] | ;;;-;;;
148 | [19 empty] | 150 | L630R1 | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 149 | 147 | [12 empty] | ;;;-;;;
149 | [19 empty] | 151 | L630R | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 150 | 148 | [12 empty] | ;;;-;;;
150 | [19 empty] | 152 | L6-30R | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 151 | 149 | [12 empty] | ;;;-;;;
151 | [19 empty] | 153 | L630R2 | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 152 | 150 | [12 empty] | ;;;-;;;
152 | [19 empty] | 154 |  | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 153 | 151 | [12 empty] | ;;;-;;;
153 | [19 empty] | 155 |  | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 154 | 152 | [12 empty] | ;;;-;;;
154 | [19 empty] | 156 | L650R1 (CS8269) | 208/50 | 1 | 2 | 50 | 1/2" | 3#8 |  |  |  | 155 | 153 | [12 empty] | ;;;-;;;
155 | [19 empty] | 157 | IG515R1 | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 156 | 154 | [12 empty] | ;;;-;;;
156 | [19 empty] | 158 | IG515R | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 157 | 155 | [12 empty] | ;;;-;;;
157 | [19 empty] | 159 | IG5-15R | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 158 | 156 | [12 empty] | ;;;-;;;
158 | [19 empty] | 160 | IG515R2 | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 159 | 157 | [12 empty] | ;;;-;;;
159 | [19 empty] | 161 | IG515R DUPLEX | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 160 | 158 | [12 empty] | ;;;-;;;
160 | [19 empty] | 162 | IG5-15R DUPLEX | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 161 | 159 | [12 empty] | ;;;-;;;
161 | [19 empty] | 163 | IG515R4 | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 162 | 160 | [12 empty] | ;;;-;;;
162 | [19 empty] | 164 | IG515R QUAD | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 163 | 161 | [12 empty] | ;;;-;;;
163 | [19 empty] | 165 | IG5-15R QUAD | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 164 | 162 | [12 empty] | ;;;-;;;
164 | [19 empty] | 166 | IG520R1 | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 165 | 163 | [12 empty] | ;;;-;;;
165 | [19 empty] | 167 | IG520R | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 166 | 164 | [12 empty] | ;;;-;;;
166 | [19 empty] | 168 | IG5-20R | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 167 | 165 | [12 empty] | ;;;-;;;
167 | [19 empty] | 169 | IG520R2 | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 168 | 166 | [12 empty] | ;;;-;;;
168 | [19 empty] | 170 | IG520R DUPLEX | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 169 | 167 | [12 empty] | ;;;-;;;
169 | [19 empty] | 171 | IG5-20R DUPLEX | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 170 | 168 | [12 empty] | ;;;-;;;
170 | [19 empty] | 172 | IG520R4 | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 171 | 169 | [12 empty] | ;;;-;;;
171 | [19 empty] | 173 | IG520R QUAD | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 172 | 170 | [12 empty] | ;;;-;;;
172 | [19 empty] | 174 | IG5-20R QUAD | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 173 | 171 | [12 empty] | ;;;-;;;
173 | [19 empty] | 175 | IG530R1 | 120/30 | 1 | 1 | 30 | 1/2" | 4#10 |  |  |  | 174 | 172 | [12 empty] | ;;;-;;;
174 | [19 empty] | 176 | IG530R | 120/30 | 1 | 1 | 30 | 1/2" | 4#10 |  |  |  | 175 | 173 | [12 empty] | ;;;-;;;
175 | [19 empty] | 177 | IG5-30R | 120/30 | 1 | 1 | 30 | 1/2" | 4#10 |  |  |  | 176 | 174 | [12 empty] | ;;;-;;;
176 | [19 empty] | 178 | IG615R1 | 208/15 | 1 | 2 | 15 | 1/2" | 4#12 |  |  |  | 177 | 175 | [12 empty] | ;;;-;;;
177 | [19 empty] | 179 | IG615R | 208/15 | 1 | 2 | 15 | 1/2" | 4#12 |  |  |  | 178 | 176 | [12 empty] | ;;;-;;;
178 | [19 empty] | 180 | IG6-15R | 208/15 | 1 | 2 | 15 | 1/2" | 4#12 |  |  |  | 179 | 177 | [12 empty] | ;;;-;;;
179 | [19 empty] | 181 | IG620R1 | 208/20 | 1 | 2 | 20 | 1/2" | 4#12 |  |  |  | 180 | 178 | [12 empty] | ;;;-;;;
180 | [19 empty] | 182 | IG620R | 208/20 | 1 | 2 | 20 | 1/2" | 4#12 |  |  |  | 181 | 179 | [12 empty] | ;;;-;;;
181 | [19 empty] | 183 | IG6-20R | 208/20 | 1 | 2 | 20 | 1/2" | 4#12 |  |  |  | 182 | 180 | [12 empty] | ;;;-;;;
182 | [19 empty] | 184 | IG630R1 | 208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 183 | 181 | [12 empty] | ;;;-;;;
183 | [19 empty] | 185 | IG630R | 208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 184 | 182 | [12 empty] | ;;;-;;;
184 | [19 empty] | 186 | IG6-30R | 208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 185 | 183 | [12 empty] | ;;;-;;;
185 | [19 empty] | 187 | IGL515R1 | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 186 | 184 | [12 empty] | ;;;-;;;
186 | [19 empty] | 188 | IGL515R | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 187 | 185 | [12 empty] | ;;;-;;;
187 | [19 empty] | 189 | IGL5-15R | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 188 | 186 | [12 empty] | ;;;-;;;
188 | [19 empty] | 190 | IGL515R2 | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 189 | 187 | [12 empty] | ;;;-;;;
189 | [19 empty] | 191 | IGL515R DUPLEX | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 190 | 188 | [12 empty] | ;;;-;;;
190 | [19 empty] | 192 | IGL5-15R DUPLEX | 120/15 | 1 | 1 | 15 | 1/2" | 4#12 |  |  |  | 191 | 189 | [12 empty] | ;;;-;;;
191 | [19 empty] | 193 | IGL520R1 | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 192 | 190 | [12 empty] | ;;;-;;;
192 | [19 empty] | 194 | IGL520R | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 193 | 191 | [12 empty] | ;;;-;;;
193 | [19 empty] | 195 | IGL5-20R | 120/20 | 1 | 1 | 20 | 1/2" | 4#12 |  |  |  | 194 | 192 | [12 empty] | ;;;-;;;
194 | [19 empty] | 196 | IGL530R1 | 120/30 | 1 | 1 | 30 | 1/2" | 4#10 |  |  |  | 195 | 193 | [12 empty] | ;;;-;;;
195 | [19 empty] | 197 | IGL530R | 120/30 | 1 | 1 | 30 | 1/2" | 4#10 |  |  |  | 196 | 194 | [12 empty] | ;;;-;;;
196 | [19 empty] | 198 | IGL5-30R | 120/30 | 1 | 1 | 30 | 1/2" | 4#10 |  |  |  | 197 | 195 | [12 empty] | ;;;-;;;
197 | [19 empty] | 199 | IGL615R1 | 208/15 | 1 | 2 | 15 | 1/2" | 4#12 |  |  |  | 198 | 196 | [12 empty] | ;;;-;;;
198 | [19 empty] | 200 | IGL615R | 208/15 | 1 | 2 | 15 | 1/2" | 4#12 |  |  |  | 199 | 197 | [12 empty] | ;;;-;;;
199 | [19 empty] | 201 | IGL6-15R | 208/15 | 1 | 2 | 15 | 1/2" | 4#12 |  |  |  | 200 | 198 | [12 empty] | ;;;-;;;
200 | [19 empty] | 202 | IGL615R2 | 208/15 | 1 | 2 | 15 | 1/2" | 4#12 |  |  |  | 201 | 199 | [12 empty] | ;;;-;;;
201 | [19 empty] | 203 | IGL615R DUPLEX | 208/15 | 1 | 2 | 15 | 1/2" | 4#12 |  |  |  | 202 | 200 | [12 empty] | ;;;-;;;
202 | [19 empty] | 204 | IGL6-15R DUPLEX | 208/15 | 1 | 2 | 15 | 1/2" | 4#12 |  |  |  | 203 | 201 | [12 empty] | ;;;-;;;
203 | [19 empty] | 205 | IGL620R1 | 208/20 | 1 | 2 | 20 | 1/2" | 4#12 |  |  |  | 204 | 202 | [12 empty] | ;;;-;;;
204 | [19 empty] | 206 | IGL620R | 208/20 | 1 | 2 | 20 | 1/2" | 4#12 |  |  |  | 205 | 203 | [12 empty] | ;;;-;;;
205 | [19 empty] | 207 | IGL6-20R | 208/20 | 1 | 2 | 20 | 1/2" | 4#12 |  |  |  | 206 | 204 | [12 empty] | ;;;-;;;
206 | [19 empty] | 208 | IGL630R1 | 208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 207 | 205 | [12 empty] | ;;;-;;;
207 | [19 empty] | 209 | IGL630R | 208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 208 | 206 | [12 empty] | ;;;-;;;
208 | [19 empty] | 210 | IGL6-30R | 208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 209 | 207 | [12 empty] | ;;;-;;;
209 | [19 empty] | 211 | IGL1420R1 | 120/208/20 | 1 | 2 | 20 | 1/2" | 5#12 |  |  |  | 210 | 208 | [12 empty] | ;;;-;;;
210 | [19 empty] | 212 | IGL1420R | 120/208/20 | 1 | 2 | 20 | 1/2" | 5#12 |  |  |  | 211 | 209 | [12 empty] | ;;;-;;;
211 | [19 empty] | 213 | IGL14-20R | 120/208/20 | 1 | 2 | 20 | 1/2" | 5#12 |  |  |  | 212 | 210 | [12 empty] | ;;;-;;;
212 | [19 empty] | 214 | IGL1430R1 | 120/208/30 | 1 | 2 | 30 | 1/2" | 5#10 |  |  |  | 213 | 211 | [12 empty] | ;;;-;;;
213 | [19 empty] | 215 | IGL1430R | 120/208/30 | 1 | 2 | 30 | 1/2" | 5#10 |  |  |  | 214 | 212 | [12 empty] | ;;;-;;;
214 | [19 empty] | 216 | IGL14-30R | 120/208/30 | 1 | 2 | 30 | 1/2" | 5#10 |  |  |  | 215 | 213 | [12 empty] | ;;;-;;;
215 | [19 empty] | 217 | IGL1520R1 | 208/20 | 3 | 3 | 20 | 1/2" | 5#12 |  |  |  | 216 | 214 | [12 empty] | ;;;-;;;
216 | [19 empty] | 218 | IGL1520R | 208/20 | 3 | 3 | 20 | 1/2" | 5#12 |  |  |  | 217 | 215 | [12 empty] | ;;;-;;;
217 | [19 empty] | 219 | IGL15-20R | 208/20 | 3 | 3 | 20 | 1/2" | 5#12 |  |  |  | 218 | 216 | [12 empty] | ;;;-;;;
218 | [19 empty] | 220 | IGL1530R1 | 208/30 | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 219 | 217 | [12 empty] | ;;;-;;;
219 | [19 empty] | 221 | IGL1530R | 208/30 | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 220 | 218 | [12 empty] | ;;;-;;;
220 | [19 empty] | 222 | IGL15-30R | 208/30 | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 221 | 219 | [12 empty] | ;;;-;;;
221 | [19 empty] | 223 | IGL2120R1 | 208/20 | 3 | 3 | 20 | 1/2" | 6#12 |  |  |  | 222 | 220 | [12 empty] | ;;;-;;;
222 | [19 empty] | 224 | IGL2120R | 208/20 | 3 | 3 | 20 | 1/2" | 6#12 |  |  |  | 223 | 221 | [12 empty] | ;;;-;;;
223 | [19 empty] | 225 | IGL21-20R | 208/20 | 3 | 3 | 20 | 1/2" | 6#12 |  |  |  | 224 | 222 | [12 empty] | ;;;-;;;
224 | [19 empty] | 226 | IGL2130R1 | 208/30 | 3 | 3 | 30 | 1/2" | 6#10 |  |  |  | 225 | 223 | [12 empty] | ;;;-;;;
225 | [19 empty] | 227 | IGL2130R | 208/30 | 3 | 3 | 30 | 1/2" | 6#10 |  |  |  | 226 | 224 | [12 empty] | ;;;-;;;
226 | [19 empty] | 228 | IGL21-30R | 208/30 | 3 | 3 | 30 | 1/2" | 6#10 |  |  |  | 227 | 225 | [12 empty] | ;;;-;;;
227 | [19 empty] | 229 | F312-12 | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 228 | 226 | [12 empty] | ;;;-;;;
228 | [19 empty] | 230 | F312-21 | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 229 | 227 | [12 empty] | ;;;-;;;
229 | [19 empty] | 231 | F312-22 | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 230 | 228 | [12 empty] | ;;;-;;;
230 | [19 empty] | 232 | F310-13 | 120/30 | 1 | 1 | 30 | 1/2" | 3#10 |  |  |  | 231 | 229 | [12 empty] | ;;;-;;;
231 | [19 empty] | 233 | F310-23 | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 232 | 230 | [12 empty] | ;;;-;;;
232 | [19 empty] | 234 | F308-25 | 208/50 | 1 | 2 | 50 | 3/4" | 3#8 |  |  |  | 233 | 231 | [12 empty] | ;;;-;;;
233 | [19 empty] | 235 | F306-26 | 208/60 | 1 | 2 | 60 | 3/4" | 3#6 |  |  |  | 234 | 232 | [12 empty] | ;;;-;;;
234 | [19 empty] | 236 | F412-21 | 120/208/15 | 1 | 2 | 15 | 1/2" | 4#12 |  |  |  | 235 | 233 | [12 empty] | ;;;-;;;
235 | [19 empty] | 237 | F412-31 | 208/15 | 3 | 3 | 15 | 1/2" | 4#12 |  |  |  | 236 | 234 | [12 empty] | ;;;-;;;
236 | [19 empty] | 238 | F410-23 | 120/208/30 | 1 | 2 | 30 | 1/2" | 4#10 |  |  |  | 237 | 235 | [12 empty] | ;;;-;;;
237 | [19 empty] | 239 | F410-33 | 208/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 238 | 236 | [12 empty] | ;;;-;;;
238 | [19 empty] | 240 | F408-24 | 208/40 | 1 | 2 | 40 | 3/4" | 4#8 |  |  |  | 239 | 237 | [12 empty] | ;;;-;;;
239 | [19 empty] | 241 | F408-35 | 250/50 | 3 | 3 | 50 | 3/4" | 4#8 |  |  |  | 240 | 238 | [12 empty] | ;;;-;;;
240 | [19 empty] | 242 | F406-36 | 208/60 | 3 | 3 | 60 | 3/4" | 4#6 |  |  |  | 241 | 239 | [12 empty] | ;;;-;;;
241 | [19 empty] | 243 | F404-37 | 208/70 | 3 | 3 | 70 | 1" | 4#4 |  |  |  | 242 | 240 | [12 empty] | ;;;-;;;
242 | [19 empty] | 244 | F402-310 | 208/100 | 3 | 3 | 100 | 1 1/4" | 4#2 |  |  |  | 243 | 241 | [12 empty] | ;;;-;;;
243 | [19 empty] | 245 | F512-32 | 208/20 | 3 | 3 | 20 | 1/2" | 5#12 |  |  |  | 244 | 242 | [12 empty] | ;;;-;;;
244 | [19 empty] | 246 | F510-33 | 120/208/30 | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 245 | 243 | [12 empty] | ;;;-;;;
245 | [19 empty] | 247 | F508-35 | 120/208/50 | 3 | 3 | 50 | 1" | 5#8 |  |  |  | 246 | 244 | [12 empty] | ;;;-;;;
246 | [19 empty] | 248 | F506-36 | 120/208/60 | 3 | 3 | 60 | 1" | 5#6 |  |  |  | 247 | 245 | [12 empty] | ;;;-;;;
247 | [19 empty] | 249 | F504-38 | 120/208/80 | 3 | 3 | 80 | 1 1/4" | 5#4 |  |  |  | 248 | 246 | [12 empty] | ;;;-;;;
248 | [19 empty] | 250 | F502-310 | 120/208/100 | 3 | 3 | 100 | 1 1/4" | 5#2 |  |  |  | 249 | 247 | [12 empty] | ;;;-;;;
249 | [19 empty] | 251 | L520R1-2 CIRC | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 250 | 248 | [12 empty] | ;;;-;;;
250 | [19 empty] | 252 | L530R1-2 CIRC | 120/30 | 1 | 1 | 30 | 1/2" | 3#10 |  |  |  | 251 | 249 | [12 empty] | ;;;-;;;
251 | [19 empty] | 253 | L620R1-2 CIRC | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 252 | 250 | [12 empty] | ;;;-;;;
252 | [19 empty] | 254 | L630R1-2 CIRC | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 253 | 251 | [12 empty] | ;;;-;;;
253 | [19 empty] | 255 | F712-12 | 208/20 | 1 | 2 | 20 | 3/4" | 7#12 |  |  |  | 254 | 252 | [12 empty] | ;;;-;;;
254 | [19 empty] | 256 | [10 empty] | 255 | 253 | [12 empty] | ;;;-;;;
255 | [19 empty] | 257 | [10 empty] | 256 | 254 | [12 empty] | ;;;-;;;
256 | [19 empty] | 258 | [10 empty] | 257 | 255 | [12 empty] | ;;;-;;;
257 | [19 empty] | 259 | [10 empty] | 258 | 256 | [12 empty] | ;;;-;;;
258 | [19 empty] | 260 | [10 empty] | 259 | 257 | [12 empty] | ;;;-;;;
259 | [19 empty] | 261 | [10 empty] | 260 | 258 | [12 empty] | ;;;-;;;
260 | [19 empty] | 262 | [10 empty] | 261 | 259 | [12 empty] | ;;;-;;;
261 | [19 empty] | 263 | [10 empty] | 262 | 260 | [12 empty] | ;;;-;;;
262 | [19 empty] | 264 | [10 empty] | 263 | 261 | [12 empty] | ;;;-;;;
263 | [19 empty] | 265 | [10 empty] | 264 | 262 | [12 empty] | ;;;-;;;
264 | [19 empty] | 266 | [10 empty] | 265 | 263 | [12 empty] | ;;;-;;;
265 | [19 empty] | 267 | [10 empty] | 266 | 264 | [12 empty] | ;;;-;;;
266 | [19 empty] | 268 | [10 empty] | 267 | 265 | [12 empty] | ;;;-;;;
267 | [19 empty] | 269 | [10 empty] | 268 | 266 | [12 empty] | ;;;-;;;
268 | [19 empty] | 270 | [10 empty] | 269 | 267 | [12 empty] | ;;;-;;;
269 | [19 empty] | 271 | [10 empty] | 270 | 268 | [12 empty] | ;;;-;;;
270 | [19 empty] | 272 | [10 empty] | 271 | 269 | [12 empty] | ;;;-;;;
271 | [19 empty] | 273 | [10 empty] | 272 | 270 | [12 empty] | ;;;-;;;
272 | [19 empty] | 274 | [10 empty] | 273 | 271 | [12 empty] | ;;;-;;;
273 | [19 empty] | 275 | [10 empty] | 274 | 272 | [12 empty] | ;;;-;;;
274 | [19 empty] | 276 | [10 empty] | 275 | 273 | [12 empty] | ;;;-;;;
275 | [19 empty] | 277 | [10 empty] | 276 | 274 | [12 empty] | ;;;-;;;
276 | [30 empty] | 277 | 275 | [12 empty] | ;;;-;;;
277 | [30 empty] | 278 | 276 | [12 empty] | ;;;-;;;
278 | [30 empty] | 279 | 277 | [12 empty] | ;;;-;;;
279 | [30 empty] | 280 | 278 | [12 empty] | ;;;-;;;
280 | [30 empty] | 281 | 279 | [12 empty] | ;;;-;;;
281 | [30 empty] | 282 | 280 | [12 empty] | ;;;-;;;
282 | [30 empty] | 283 | 281 | [12 empty] | ;;;-;;;
283 | [30 empty] | 284 | 282 | [12 empty] | ;;;-;;;
284 | [30 empty] | 285 | 283 | [12 empty] | ;;;-;;;
285 | [30 empty] | 286 | 284 | [12 empty] | ;;;-;;;
286 | [30 empty] | 287 | 285 | [12 empty] | ;;;-;;;
287 | [30 empty] | 288 | 286 | [12 empty] | ;;;-;;;
288 | [30 empty] | 289 | 287 | [12 empty] | ;;;-;;;
289 | [30 empty] | 290 | 288 | [12 empty] | ;;;-;;;
290 | [30 empty] | 291 | 289 | [12 empty] | ;;;-;;;
291 | [30 empty] | 292 | 290 | [12 empty] | ;;;-;;;
292 | [30 empty] | 293 | 291 | [12 empty] | ;;;-;;;
293 | [30 empty] | 294 | 292 | [12 empty] | ;;;-;;;
294 | [30 empty] | 295 | 293 | [12 empty] | ;;;-;;;
295 | [30 empty] | 296 | 294 | [12 empty] | ;;;-;;;
296 | [30 empty] | 297 | 295 | [12 empty] | ;;;-;;;
297 | [30 empty] | 298 | 296 | [12 empty] | ;;;-;;;
298 | [30 empty] | 299 | 297 | [12 empty] | ;;;-;;;
299 | [30 empty] | 300 | 298 | [12 empty] | ;;;-;;;
300 | [30 empty] | 301 | 299 | [12 empty] | ;;;-;;;
301 | [30 empty] | 302 | 300 | [12 empty] | ;;;-;;;
302 | [44 empty] | ;;;-;;;
303 | [44 empty] | ;;;-;;;
304 | [44 empty] | ;;;-;;;
305 | [44 empty] | ;;;-;;;
306 | [44 empty] | ;;;-;;;
307 | [44 empty] | ;;;-;;;
308 | [44 empty] | ;;;-;;;
309 | [44 empty] | ;;;-;;;
310 | [44 empty] | ;;;-;;;
311 | [44 empty] | ;;;-;;;
312 | [44 empty] | ;;;-;;;
313 | [44 empty] | ;;;-;;;
314 | [44 empty] | ;;;-;;;
315 | [44 empty] | ;;;-;;;
316 | [44 empty] | ;;;-;;;
317 | [44 empty] | ;;;-;;;
318 | [44 empty] | ;;;-;;;
319 | [44 empty] | ;;;-;;;
320 | [44 empty] | ;;;-;;;
321 | [44 empty] | ;;;-;;;
322 | [44 empty] | ;;;-;;;
323 | [44 empty] | ;;;-;;;
324 | [44 empty] | ;;;-;;;
325 | [44 empty] | ;;;-;;;
326 | [44 empty] | ;;;-;;;
327 | [44 empty] | ;;;-;;;
328 | [44 empty] | ;;;-;;;
329 | [44 empty] | ;;;-;;;
330 | [44 empty] | ;;;-;;;
331 | [44 empty] | ;;;-;;;
332 | [44 empty] | ;;;-;;;
333 | [44 empty] | ;;;-;;;
334 | [44 empty] | ;;;-;;;
335 | [44 empty] | ;;;-;;;
336 | [44 empty] | ;;;-;;;
337 | [44 empty] | ;;;-;;;
338 | [44 empty] | ;;;-;;;
339 | [44 empty] | ;;;-;;;
340 | [44 empty] | ;;;-;;;
341 | [44 empty] | ;;;-;;;
342 | [44 empty] | ;;;-;;;
343 | [44 empty] | ;;;-;;;
344 | [44 empty] | ;;;-;;;
345 | [44 empty] | ;;;-;;;
346 | [44 empty] | ;;;-;;;
347 | [44 empty] | ;;;-;;;
348 | [44 empty] | ;;;-;;;
349 | [44 empty] | ;;;-;;;
350 | [44 empty] | ;;;-;;;
351 | [44 empty] | ;;;-;;;
352 | [44 empty] | ;;;-;;;
353 | [44 empty] | ;;;-;;;
354 | [44 empty] | ;;;-;;;
355 | [44 empty] | ;;;-;;;
356 | [44 empty] | ;;;-;;;
357 | [44 empty] | ;;;-;;;
358 | [44 empty] | ;;;-;;;
359 | [44 empty] | ;;;-;;;
360 | [44 empty] | ;;;-;;;
361 | [44 empty] | ;;;-;;;
362 | [44 empty] | ;;;-;;;
363 | [44 empty] | ;;;-;;;
364 | [44 empty] | ;;;-;;;
365 | [44 empty] | ;;;-;;;
366 | [44 empty] | ;;;-;;;
367 | [44 empty] | ;;;-;;;
368 | [44 empty] | ;;;-;;;
369 | [44 empty] | ;;;-;;;
370 | [44 empty] | ;;;-;;;
371 | [44 empty] | ;;;-;;;
372 | [44 empty] | ;;;-;;;
373 | [44 empty] | ;;;-;;;
374 | [44 empty] | ;;;-;;;
375 | [44 empty] | ;;;-;;;
376 | [44 empty] | ;;;-;;;
377 | [44 empty] | ;;;-;;;
378 | [44 empty] | ;;;-;;;
379 | [44 empty] | ;;;-;;;
380 | [44 empty] | ;;;-;;;
381 | [44 empty] | ;;;-;;;
382 | [44 empty] | ;;;-;;;
383 | [44 empty] | ;;;-;;;
384 | [44 empty] | ;;;-;;;
385 | [44 empty] | ;;;-;;;
386 | [44 empty] | ;;;-;;;
387 | [44 empty] | ;;;-;;;
388 | [44 empty] | ;;;-;;;
389 | [44 empty] | ;;;-;;;
390 | [44 empty] | ;;;-;;;
391 | [44 empty] | ;;;-;;;
392 | [44 empty] | ;;;-;;;
393 | [44 empty] | ;;;-;;;
394 | [44 empty] | ;;;-;;;
395 | [44 empty] | ;;;-;;;
396 | [44 empty] | ;;;-;;;
397 | [44 empty] | ;;;-;;;
398 | [44 empty] | ;;;-;;;
399 | [44 empty] | ;;;-;;;
400 | [44 empty] | ;;;-;;;
401 | [44 empty] | ;;;-;;;
402 | [44 empty] | ;;;-;;;
403 | [44 empty] | ;;;-;;;
404 | [44 empty] | ;;;-;;;
405 | [44 empty] | ;;;-;;;
406 | [44 empty] | ;;;-;;;
407 | [44 empty] | ;;;-;;;
408 | [44 empty] | ;;;-;;;
409 | [44 empty] | ;;;-;;;
410 | [44 empty] | ;;;-;;;
411 | [44 empty] | ;;;-;;;
412 | [44 empty] | ;;;-;;;
413 | [44 empty] | ;;;-;;;
414 | [44 empty] | ;;;-;;;
415 | [44 empty] | ;;;-;;;
416 | [44 empty] | ;;;-;;;
417 | [44 empty] | ;;;-;;;
418 | [44 empty] | ;;;-;;;
419 | [44 empty] | ;;;-;;;
420 | [44 empty] | ;;;-;;;
421 | [44 empty] | ;;;-;;;
422 | [44 empty] | ;;;-;;;
423 | [44 empty] | ;;;-;;;
424 | [44 empty] | ;;;-;;;
425 | [44 empty] | ;;;-;;;
426 | [44 empty] | ;;;-;;;
427 | [44 empty] | ;;;-;;;
428 | [44 empty] | ;;;-;;;
429 | [44 empty] | ;;;-;;;
430 | [44 empty] | ;;;-;;;
431 | [44 empty] | ;;;-;;;
432 | [44 empty] | ;;;-;;;
433 | [44 empty] | ;;;-;;;
434 | [44 empty] | ;;;-;;;
435 | [44 empty] | ;;;-;;;
436 | [44 empty] | ;;;-;;;
437 | [44 empty] | ;;;-;;;
438 | [44 empty] | ;;;-;;;
439 | [44 empty] | ;;;-;;;
440 | [44 empty] | ;;;-;;;
441 | [44 empty] | ;;;-;;;
442 | [44 empty] | ;;;-;;;
443 | [44 empty] | ;;;-;;;
444 | [44 empty] | ;;;-;;;
445 | [44 empty] | ;;;-;;;
446 | [44 empty] | ;;;-;;;
447 | [44 empty] | ;;;-;;;
448 | [44 empty] | ;;;-;;;
449 | [44 empty] | ;;;-;;;
450 | [44 empty] | ;;;-;;;
451 | [44 empty] | ;;;-;;;
452 | [44 empty] | ;;;-;;;
453 | [44 empty] | ;;;-;;;
454 | [44 empty] | ;;;-;;;
455 | [44 empty] | ;;;-;;;
456 | [44 empty] | ;;;-;;;
457 | [44 empty] | ;;;-;;;
458 | [44 empty] | ;;;-;;;
459 | [44 empty] | ;;;-;;;
460 | [44 empty] | ;;;-;;;
461 | [44 empty] | ;;;-;;;
462 | [44 empty] | ;;;-;;;
463 | [44 empty] | ;;;-;;;
464 | [44 empty] | ;;;-;;;
465 | [44 empty] | ;;;-;;;
466 | [44 empty] | ;;;-;;;
467 | [44 empty] | ;;;-;;;
468 | [44 empty] | ;;;-;;;
469 | [44 empty] | ;;;-;;;
470 | [44 empty] | ;;;-;;;
471 | [44 empty] | ;;;-;;;
472 | [44 empty] | ;;;-;;;
473 | [44 empty] | ;;;-;;;
474 | [44 empty] | ;;;-;;;
475 | [44 empty] | ;;;-;;;
476 | [44 empty] | ;;;-;;;
477 | [44 empty] | ;;;-;;;
478 | [44 empty] | ;;;-;;;
479 | [44 empty] | ;;;-;;;
480 | [44 empty] | ;;;-;;;
481 | [44 empty] | ;;;-;;;
482 | [44 empty] | ;;;-;;;
483 | [44 empty] | ;;;-;;;
484 | [44 empty] | ;;;-;;;
485 | [44 empty] | ;;;-;;;
486 | [44 empty] | ;;;-;;;
487 | [44 empty] | ;;;-;;;
488 | [44 empty] | ;;;-;;;
489 | [44 empty] | ;;;-;;;
490 | [44 empty] | ;;;-;;;
491 | [44 empty] | ;;;-;;;
492 | [44 empty] | ;;;-;;;
493 | [44 empty] | ;;;-;;;
494 | [44 empty] | ;;;-;;;
495 | [44 empty] | ;;;-;;;
496 | [44 empty] | ;;;-;;;
497 | [44 empty] | ;;;-;;;
498 | [44 empty] | ;;;-;;;
499 | [44 empty] | ;;;-;;;
500 | [44 empty] | ;;;-;;;
501 | [44 empty] | ;;;-;;;
502 | [44 empty] | ;;;-;;;
503 | [44 empty] | ;;;-;;;
504 | [44 empty] | ;;;-;;;
505 | [44 empty] | ;;;-;;;
506 | [44 empty] | ;;;-;;;
507 | [44 empty] | ;;;-;;;
508 | [44 empty] | ;;;-;;;
509 | [44 empty] | ;;;-;;;
510 | [44 empty] | ;;;-;;;
511 | [44 empty] | ;;;-;;;
512 | [44 empty] | ;;;-;;;
513 | [44 empty] | ;;;-;;;
514 | [44 empty] | ;;;-;;;
515 | [44 empty] | ;;;-;;;
516 | [44 empty] | ;;;-;;;
517 | [44 empty] | ;;;-;;;
518 | [44 empty] | ;;;-;;;
519 | [44 empty] | ;;;-;;;
520 | [44 empty] | ;;;-;;;
521 | [44 empty] | ;;;-;;;
522 | [44 empty] | ;;;-;;;
523 | [44 empty] | ;;;-;;;
524 | [44 empty] | ;;;-;;;
525 | [44 empty] | ;;;-;;;
526 | [44 empty] | ;;;-;;;
527 | [44 empty] | ;;;-;;;
528 | [44 empty] | ;;;-;;;
529 | [44 empty] | ;;;-;;;
530 | [44 empty] | ;;;-;;;
531 | [44 empty] | ;;;-;;;
532 | [44 empty] | ;;;-;;;
533 | [44 empty] | ;;;-;;;
534 | [44 empty] | ;;;-;;;
535 | [44 empty] | ;;;-;;;
536 | [44 empty] | ;;;-;;;
537 | [44 empty] | ;;;-;;;
538 | [44 empty] | ;;;-;;;
539 | [44 empty] | ;;;-;;;
540 | [44 empty] | ;;;-;;;
541 | [44 empty] | ;;;-;;;
542 | [44 empty] | ;;;-;;;
543 | [44 empty] | ;;;-;;;
544 | [44 empty] | ;;;-;;;
545 | [44 empty] | ;;;-;;;
546 | [44 empty] | ;;;-;;;
547 | [44 empty] | ;;;-;;;
548 | [44 empty] | ;;;-;;;
549 | [44 empty] | ;;;-;;;
550 | [44 empty] | ;;;-;;;
551 | [44 empty] | ;;;-;;;
552 | [44 empty] | ;;;-;;;
553 | [44 empty] | ;;;-;;;
554 | [44 empty] | ;;;-;;;
555 | [44 empty] | ;;;-;;;
556 | [44 empty] | ;;;-;;;
557 | [44 empty] | ;;;-;;;
558 | [44 empty] | ;;;-;;;
559 | [44 empty] | ;;;-;;;
560 | [44 empty] | ;;;-;;;
561 | [44 empty] | ;;;-;;;
562 | [44 empty] | ;;;-;;;
563 | [44 empty] | ;;;-;;;
564 | [44 empty] | ;;;-;;;
565 | [44 empty] | ;;;-;;;
566 | [44 empty] | ;;;-;;;
567 | [44 empty] | ;;;-;;;
568 | [44 empty] | ;;;-;;;
569 | [44 empty] | ;;;-;;;
570 | [44 empty] | ;;;-;;;
571 | [44 empty] | ;;;-;;;
572 | [44 empty] | ;;;-;;;
573 | [44 empty] | ;;;-;;;
574 | [44 empty] | ;;;-;;;
575 | [44 empty] | ;;;-;;;
576 | [44 empty] | ;;;-;;;
577 | [44 empty] | ;;;-;;;
578 | [44 empty] | ;;;-;;;
579 | [44 empty] | ;;;-;;;
580 | [44 empty] | ;;;-;;;
581 | [44 empty] | ;;;-;;;
582 | [44 empty] | ;;;-;;;
583 | [44 empty] | ;;;-;;;
584 | [44 empty] | ;;;-;;;
585 | [44 empty] | ;;;-;;;
586 | [44 empty] | ;;;-;;;
587 | [44 empty] | ;;;-;;;
588 | [44 empty] | ;;;-;;;
589 | [44 empty] | ;;;-;;;
590 | [44 empty] | ;;;-;;;
591 | [44 empty] | ;;;-;;;
592 | [44 empty] | ;;;-;;;
593 | [44 empty] | ;;;-;;;
594 | [44 empty] | ;;;-;;;
595 | [44 empty] | ;;;-;;;
596 | [44 empty] | ;;;-;;;
597 | [44 empty] | ;;;-;;;
598 | [44 empty] | ;;;-;;;
599 | [44 empty] | ;;;-;;;
600 | [44 empty] | ;;;-;;;
601 | [44 empty] | ;;;-;;;
602 | [44 empty] | ;;;-;;;
603 | [44 empty] | ;;;-;;;
604 | [44 empty] | ;;;-;;;
605 | [44 empty] | ;;;-;;;
606 | [44 empty] | ;;;-;;;
607 | [44 empty] | ;;;-;;;
608 | [44 empty] | ;;;-;;;
609 | [44 empty] | ;;;-;;;
610 | [44 empty] | ;;;-;;;
611 | [44 empty] | ;;;-;;;
612 | [44 empty] | ;;;-;;;
613 | [44 empty] | ;;;-;;;
614 | [44 empty] | ;;;-;;;
615 | [44 empty] | ;;;-;;;
616 | [44 empty] | ;;;-;;;
617 | [44 empty] | ;;;-;;;
618 | [44 empty] | ;;;-;;;
619 | [44 empty] | ;;;-;;;
620 | [44 empty] | ;;;-;;;
621 | [44 empty] | ;;;-;;;
622 | [44 empty] | ;;;-;;;
623 | [44 empty] | ;;;-;;;
624 | [44 empty] | ;;;-;;;
625 | [44 empty] | ;;;-;;;
626 | [44 empty] | ;;;-;;;
627 | [44 empty] | ;;;-;;;
628 | [44 empty] | ;;;-;;;
629 | [44 empty] | ;;;-;;;
630 | [44 empty] | ;;;-;;;
631 | [44 empty] | ;;;-;;;
632 | [44 empty] | ;;;-;;;
633 | [44 empty] | ;;;-;;;
634 | [44 empty] | ;;;-;;;
635 | [44 empty] | ;;;-;;;
636 | [44 empty] | ;;;-;;;
637 | [44 empty] | ;;;-;;;
638 | [44 empty] | ;;;-;;;
639 | [44 empty] | ;;;-;;;
640 | [44 empty] | ;;;-;;;
641 | [44 empty] | ;;;-;;;
642 | [44 empty] | ;;;-;;;
643 | [44 empty] | ;;;-;;;
644 | [44 empty] | ;;;-;;;
645 | [44 empty] | ;;;-;;;
646 | [44 empty] | ;;;-;;;
647 | [44 empty] | ;;;-;;;
648 | [44 empty] | ;;;-;;;
649 | [44 empty] | ;;;-;;;
650 | [44 empty] | ;;;-;;;
651 | [44 empty] | ;;;-;;;
652 | [44 empty] | ;;;-;;;
653 | [44 empty] | ;;;-;;;
654 | [44 empty] | ;;;-;;;
655 | [44 empty] | ;;;-;;;
656 | [44 empty] | ;;;-;;;
657 | [44 empty] | ;;;-;;;
658 | [44 empty] | ;;;-;;;
659 | [44 empty] | ;;;-;;;
660 | [44 empty] | ;;;-;;;
661 | [44 empty] | ;;;-;;;
662 | [44 empty] | ;;;-;;;
663 | [44 empty] | ;;;-;;;
664 | [44 empty] | ;;;-;;;
665 | [44 empty] | ;;;-;;;
666 | [44 empty] | ;;;-;;;
667 | [44 empty] | ;;;-;;;
668 | [44 empty] | ;;;-;;;
669 | [44 empty] | ;;;-;;;
670 | [44 empty] | ;;;-;;;
671 | [44 empty] | ;;;-;;;
672 | [44 empty] | ;;;-;;;
673 | [44 empty] | ;;;-;;;
674 | [44 empty] | ;;;-;;;
675 | [44 empty] | ;;;-;;;
676 | [44 empty] | ;;;-;;;
677 | [44 empty] | ;;;-;;;
678 | [44 empty] | ;;;-;;;
679 | [44 empty] | ;;;-;;;
680 | [44 empty] | ;;;-;;;
681 | [44 empty] | ;;;-;;;
682 | [44 empty] | ;;;-;;;
683 | [44 empty] | ;;;-;;;
684 | [44 empty] | ;;;-;;;
685 | [44 empty] | ;;;-;;;
686 | [44 empty] | ;;;-;;;
687 | [44 empty] | ;;;-;;;
688 | [44 empty] | ;;;-;;;
689 | [44 empty] | ;;;-;;;
690 | [44 empty] | ;;;-;;;
691 | [44 empty] | ;;;-;;;
692 | [44 empty] | ;;;-;;;
693 | [44 empty] | ;;;-;;;
694 | [44 empty] | ;;;-;;;
695 | [44 empty] | ;;;-;;;
696 | [44 empty] | ;;;-;;;
697 | [44 empty] | ;;;-;;;
698 | [44 empty] | ;;;-;;;
699 | [44 empty] | ;;;-;;;
700 | [44 empty] | ;;;-;;;
701 | [44 empty] | ;;;-;;;
702 | [44 empty] | ;;;-;;;
703 | [44 empty] | ;;;-;;;
704 | [44 empty] | ;;;-;;;
705 | [44 empty] | ;;;-;;;
706 | [44 empty] | ;;;-;;;
707 | [44 empty] | ;;;-;;;
708 | [44 empty] | ;;;-;;;
709 | [44 empty] | ;;;-;;;
710 | [44 empty] | ;;;-;;;
711 | [44 empty] | ;;;-;;;
712 | [44 empty] | ;;;-;;;
713 | [44 empty] | ;;;-;;;
714 | [44 empty] | ;;;-;;;
715 | [44 empty] | ;;;-;;;
716 | [44 empty] | ;;;-;;;
717 | [44 empty] | ;;;-;;;
718 | [44 empty] | ;;;-;;;
719 | [44 empty] | ;;;-;;;
720 | [44 empty] | ;;;-;;;
721 | [44 empty] | ;;;-;;;
722 | [44 empty] | ;;;-;;;
723 | [44 empty] | ;;;-;;;
724 | [44 empty] | ;;;-;;;
725 | [44 empty] | ;;;-;;;
726 | [44 empty] | ;;;-;;;
727 | [44 empty] | ;;;-;;;
728 | [44 empty] | ;;;-;;;
729 | [44 empty] | ;;;-;;;
730 | [44 empty] | ;;;-;;;
731 | [44 empty] | ;;;-;;;
732 | [44 empty] | ;;;-;;;
733 | [44 empty] | ;;;-;;;
734 | [44 empty] | ;;;-;;;
735 | [44 empty] | ;;;-;;;
736 | [44 empty] | ;;;-;;;
737 | [44 empty] | ;;;-;;;
738 | [44 empty] | ;;;-;;;
739 | [44 empty] | ;;;-;;;
740 | [44 empty] | ;;;-;;;
741 | [44 empty] | ;;;-;;;
742 | [44 empty] | ;;;-;;;
743 | [44 empty] | ;;;-;;;
744 | [44 empty] | ;;;-;;;
745 | [44 empty] | ;;;-;;;
746 | [44 empty] | ;;;-;;;
747 | [44 empty] | ;;;-;;;
748 | [44 empty] | ;;;-;;;
749 | [44 empty] | ;;;-;;;
750 | [44 empty] | ;;;-;;;
751 | [44 empty] | ;;;-;;;
752 | [44 empty] | ;;;-;;;
753 | [44 empty] | ;;;-;;;
754 | [44 empty] | ;;;-;;;
755 | [44 empty] | ;;;-;;;
756 | [44 empty] | ;;;-;;;
757 | [44 empty] | ;;;-;;;
758 | [44 empty] | ;;;-;;;
759 | [44 empty] | ;;;-;;;
760 | [44 empty] | ;;;-;;;
761 | [44 empty] | ;;;-;;;
762 | [44 empty] | ;;;-;;;
763 | [44 empty] | ;;;-;;;
764 | [44 empty] | ;;;-;;;
765 | [44 empty] | ;;;-;;;
766 | [44 empty] | ;;;-;;;
767 | [44 empty] | ;;;-;;;
768 | [44 empty] | ;;;-;;;
769 | [44 empty] | ;;;-;;;
770 | [44 empty] | ;;;-;;;
771 | [44 empty] | ;;;-;;;
772 | [44 empty] | ;;;-;;;
773 | [44 empty] | ;;;-;;;
774 | [44 empty] | ;;;-;;;
775 | [44 empty] | ;;;-;;;
776 | [44 empty] | ;;;-;;;
777 | [44 empty] | ;;;-;;;
778 | [44 empty] | ;;;-;;;
779 | [44 empty] | ;;;-;;;
780 | [44 empty] | ;;;-;;;
781 | [44 empty] | ;;;-;;;
782 | [44 empty] | ;;;-;;;
783 | [44 empty] | ;;;-;;;
784 | [44 empty] | ;;;-;;;
785 | [44 empty] | ;;;-;;;
786 | [44 empty] | ;;;-;;;
787 | [44 empty] | ;;;-;;;
788 | [44 empty] | ;;;-;;;
789 | [44 empty] | ;;;-;;;
790 | [44 empty] | ;;;-;;;
791 | [44 empty] | ;;;-;;;
792 | [44 empty] | ;;;-;;;
793 | [44 empty] | ;;;-;;;
794 | [44 empty] | ;;;-;;;
795 | [44 empty] | ;;;-;;;
796 | [44 empty] | ;;;-;;;
797 | [44 empty] | ;;;-;;;
798 | [44 empty] | ;;;-;;;
799 | [44 empty] | ;;;-;;;
800 | [44 empty] | ;;;-;;;
801 | [44 empty] | ;;;-;;;
802 | [44 empty] | ;;;-;;;
803 | [44 empty] | ;;;-;;;
804 | [44 empty] | ;;;-;;;
805 | [44 empty] | ;;;-;;;
806 | [44 empty] | ;;;-;;;
807 | [44 empty] | ;;;-;;;
808 | [44 empty] | ;;;-;;;
809 | [44 empty] | ;;;-;;;
810 | [44 empty] | ;;;-;;;
811 | [44 empty] | ;;;-;;;
812 | [44 empty] | ;;;-;;;
813 | [44 empty] | ;;;-;;;
814 | [44 empty] | ;;;-;;;
815 | [44 empty] | ;;;-;;;
816 | [44 empty] | ;;;-;;;
817 | [44 empty] | ;;;-;;;
818 | [44 empty] | ;;;-;;;
819 | [44 empty] | ;;;-;;;
820 | [44 empty] | ;;;-;;;
821 | [44 empty] | ;;;-;;;
822 | [44 empty] | ;;;-;;;
823 | [44 empty] | ;;;-;;;
824 | [44 empty] | ;;;-;;;
825 | [44 empty] | ;;;-;;;
826 | [44 empty] | ;;;-;;;
827 | [44 empty] | ;;;-;;;
828 | [44 empty] | ;;;-;;;
829 | [44 empty] | ;;;-;;;
830 | [44 empty] | ;;;-;;;
831 | [44 empty] | ;;;-;;;
832 | [44 empty] | ;;;-;;;
833 | [44 empty] | ;;;-;;;
834 | [44 empty] | ;;;-;;;
835 | [44 empty] | ;;;-;;;
836 | [44 empty] | ;;;-;;;
837 | [44 empty] | ;;;-;;;
838 | [44 empty] | ;;;-;;;
839 | [44 empty] | ;;;-;;;
840 | [44 empty] | ;;;-;;;
841 | [44 empty] | ;;;-;;;
842 | [44 empty] | ;;;-;;;
843 | [44 empty] | ;;;-;;;
844 | [44 empty] | ;;;-;;;
845 | [44 empty] | ;;;-;;;
846 | [44 empty] | ;;;-;;;
847 | [44 empty] | ;;;-;;;
848 | [44 empty] | ;;;-;;;
849 | [44 empty] | ;;;-;;;
850 | [44 empty] | ;;;-;;;
851 | [44 empty] | ;;;-;;;
852 | [44 empty] | ;;;-;;;
853 | [44 empty] | ;;;-;;;
854 | [44 empty] | ;;;-;;;
855 | [44 empty] | ;;;-;;;
856 | [44 empty] | ;;;-;;;
857 | [44 empty] | ;;;-;;;
858 | [44 empty] | ;;;-;;;
859 | [44 empty] | ;;;-;;;
860 | [44 empty] | ;;;-;;;
861 | [44 empty] | ;;;-;;;
862 | [44 empty] | ;;;-;;;
863 | [44 empty] | ;;;-;;;
864 | [44 empty] | ;;;-;;;
865 | [44 empty] | ;;;-;;;
866 | [44 empty] | ;;;-;;;
867 | [44 empty] | ;;;-;;;
868 | [44 empty] | ;;;-;;;
869 | [44 empty] | ;;;-;;;
870 | [44 empty] | ;;;-;;;
871 | [44 empty] | ;;;-;;;
872 | [44 empty] | ;;;-;;;
873 | [44 empty] | ;;;-;;;
874 | [44 empty] | ;;;-;;;
875 | [44 empty] | ;;;-;;;
876 | [44 empty] | ;;;-;;;
877 | [44 empty] | ;;;-;;;
878 | [44 empty] | ;;;-;;;
879 | [44 empty] | ;;;-;;;
880 | [44 empty] | ;;;-;;;
881 | [44 empty] | ;;;-;;;
882 | [44 empty] | ;;;-;;;
883 | [44 empty] | ;;;-;;;
884 | [44 empty] | ;;;-;;;
885 | [44 empty] | ;;;-;;;
886 | [44 empty] | ;;;-;;;
887 | [44 empty] | ;;;-;;;
888 | [44 empty] | ;;;-;;;
889 | [44 empty] | ;;;-;;;
890 | [44 empty] | ;;;-;;;
891 | [44 empty] | ;;;-;;;
892 | [44 empty] | ;;;-;;;
893 | [44 empty] | ;;;-;;;
894 | [44 empty] | ;;;-;;;
895 | [44 empty] | ;;;-;;;
896 | [44 empty] | ;;;-;;;
897 | [44 empty] | ;;;-;;;
898 | [44 empty] | ;;;-;;;
899 | [44 empty] | ;;;-;;;
900 | [44 empty] | ;;;-;;;
901 | [44 empty] | ;;;-;;;
902 | [44 empty] | ;;;-;;;
903 | [44 empty] | ;;;-;;;
904 | [44 empty] | ;;;-;;;
905 | [44 empty] | ;;;-;;;
906 | [44 empty] | ;;;-;;;
907 | [44 empty] | ;;;-;;;
908 | [44 empty] | ;;;-;;;
909 | [44 empty] | ;;;-;;;
910 | [44 empty] | ;;;-;;;
911 | [44 empty] | ;;;-;;;
912 | [44 empty] | ;;;-;;;
913 | [44 empty] | ;;;-;;;
914 | [44 empty] | ;;;-;;;
915 | [44 empty] | ;;;-;;;
916 | [44 empty] | ;;;-;;;
917 | [44 empty] | ;;;-;;;
918 | [44 empty] | ;;;-;;;
919 | [44 empty] | ;;;-;;;
920 | [44 empty] | ;;;-;;;
921 | [44 empty] | ;;;-;;;
922 | [44 empty] | ;;;-;;;
923 | [44 empty] | ;;;-;;;
924 | [44 empty] | ;;;-;;;
925 | [44 empty] | ;;;-;;;
926 | [44 empty] | ;;;-;;;
927 | [44 empty] | ;;;-;;;
928 | [44 empty] | ;;;-;;;
929 | [44 empty] | ;;;-;;;
930 | [44 empty] | ;;;-;;;
931 | [44 empty] | ;;;-;;;
932 | [44 empty] | ;;;-;;;
933 | [44 empty] | ;;;-;;;
934 | [44 empty] | ;;;-;;;
935 | [44 empty] | ;;;-;;;
936 | [44 empty] | ;;;-;;;
937 | [44 empty] | ;;;-;;;
938 | [44 empty] | ;;;-;;;
939 | [44 empty] | ;;;-;;;
940 | [44 empty] | ;;;-;;;
941 | [44 empty] | ;;;-;;;
942 | [44 empty] | ;;;-;;;
943 | [44 empty] | ;;;-;;;
944 | [44 empty] | ;;;-;;;
945 | [44 empty] | ;;;-;;;
946 | [44 empty] | ;;;-;;;
947 | [44 empty] | ;;;-;;;
948 | [44 empty] | ;;;-;;;
949 | [44 empty] | ;;;-;;;
950 | [44 empty] | ;;;-;;;
951 | [44 empty] | ;;;-;;;
952 | [44 empty] | ;;;-;;;
953 | [44 empty] | ;;;-;;;
954 | [44 empty] | ;;;-;;;
955 | [44 empty] | ;;;-;;;
956 | [44 empty] | ;;;-;;;
957 | [44 empty] | ;;;-;;;
958 | [44 empty] | ;;;-;;;
959 | [44 empty] | ;;;-;;;
960 | [44 empty] | ;;;-;;;
961 | [44 empty] | ;;;-;;;
962 | [44 empty] | ;;;-;;;
963 | [44 empty] | ;;;-;;;
964 | [44 empty] | ;;;-;;;
965 | [44 empty] | ;;;-;;;
966 | [44 empty] | ;;;-;;;
967 | [44 empty] | ;;;-;;;
968 | [44 empty] | ;;;-;;;
969 | [44 empty] | ;;;-;;;
970 | [44 empty] | ;;;-;;;
971 | [44 empty] | ;;;-;;;
972 | [44 empty] | ;;;-;;;
973 | [44 empty] | ;;;-;;;
974 | [44 empty] | ;;;-;;;
975 | [44 empty] | ;;;-;;;
976 | [44 empty] | ;;;-;;;
977 | [44 empty] | ;;;-;;;
978 | [44 empty] | ;;;-;;;
979 | [44 empty] | ;;;-;;;
980 | [44 empty] | ;;;-;;;
981 | [44 empty] | ;;;-;;;
982 | [44 empty] | ;;;-;;;
983 | [44 empty] | ;;;-;;;
984 | [44 empty] | ;;;-;;;
985 | [44 empty] | ;;;-;;;
986 | [44 empty] | ;;;-;;;
987 | [44 empty] | ;;;-;;;
988 | [44 empty] | ;;;-;;;
989 | [44 empty] | ;;;-;;;
990 | [44 empty] | ;;;-;;;
991 | [44 empty] | ;;;-;;;
992 | [44 empty] | ;;;-;;;
993 | [44 empty] | ;;;-;;;
994 | [44 empty] | ;;;-;;;
995 | [44 empty] | ;;;-;;;
996 | [44 empty] | ;;;-;;;
997 | [44 empty] | ;;;-;;;
998 | [44 empty] | ;;;-;;;
999 | [44 empty] | ;;;-;;;
1000 | [44 empty] | ;;;-;;;
50
100
200
500
750
1000
Reset Brkr and Cndt Color
Note on AR14: dlee: Once the breaker manufacturer is determined on the first cable, all cables below would be the same.
Note on AR21: dlee: Once the breaker manufacturer is determined on the first cable, all cables below would be the same.
Note on AR22: dlee: Once the breaker manufacturer is determined on the first cable, all cables below would be the same.

## Spec Sheet (hidden)
Power Cable Request Form - Special Spec Sheet | [16 empty] | Power Cable Request Form - Special Spec Sheet
Customer Name: |  |  |  |  | Customer Contact: |  |  |  | Due Date:
Project: |  |  |  |  | Phone Number: |  |  |  | Quote Date:
Set Print Area thru Cables: | [11 empty] | Length: | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
[11 empty] | Conduit |  |  | Wires |  |  |  |  | Receptical | Volts/Amps | Phase | Poles | Amps | Conduit | Wire |  |  |  |  | Cable |  | Brands |  | Yes/No |  | Conduit |  | Colors |  | Wire
Cable | Cable Information |  |  | Receptacle | Cable | Volts/ |  | Breaker |  |  | Size |  |  | Qty/Awg |  | Price |  |  | 1: Type; 6: Size; 7: Qty/Awg |  | Length | [5 empty] | Size |  |  |  | Qty/Awg
No. | PDU-PANEL | Circuit # | Equipment | Type | Length | Amps | Phase | Brnd/Styl | Poles | Amps | Stnd | Opt | Color | Stnd | Opt | Each
[18 empty] | 1 | None
[18 empty] | 2 | 3913 | 208/20 | 1 | 2 | 20 | 1/2" | 3#12 |  |  |  | 1 | 1 | 1 | NONE | 1 | Yes | 1 | 1/2" | 1 | Blue | 1 | 3#12
[18 empty] | 3 | 3913-U1 | 120/20 | 1 | 1 | 20 | 1/2" | 3#12 |  |  |  | 2 | 2 | 2 | SqD Plug 10KAIC QO | 2 | No | 2 | 3/4" | 2 | Red | 2 | 4#12
[18 empty] | 4 | 3139-U2 | 208/15 | 1 | 2 | 15 | 1/2" | 3#12 |  |  |  | 3 | 3 | 3 | GE Bolt 22KAIC THHQB |  |  | 3 | 1" | 3 | Yellow | 3 | 5#12
[18 empty] | 5 | 3914 | 208/15 | 3 | 3 | 15 | 1/2" | 4#12 |  |  |  | 4 | 4 | 4 | GE Plug 10KAIC THQL |  |  | 4 | 1 1/4" | 4 | Green | 4 | 3#10
[18 empty] | 6 | 3933 | 208/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 5 | 5 | 5 | SqD Plug 22KAIC QOVH |  |  | 5 | 1 1/2" | 5 | Orange | 5 | 4#10
[18 empty] | 7 | 3934 | 208/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 6 | 6 | 6 | GE Bolt 10KAIC THQB |  |  | 6 | 2" | 6 | Black | 6 | 5#10
[18 empty] | 8 | 7428-78 | 208/60 | 3 | 3 | 60 | 3/4" | 4#6 |  |  |  | 7 | 7 | 7 | #REF! |  |  | 7 |  | 7 | Gray | 7 | 2#12,1#10g
[18 empty] | 9 | JSC1034H (IBM F) | 208/100 | 3 | 3 | 100 | 1 1/4" | 4#3 |  |  |  | 8 | 8 | 12 | Cutler Hammer 22KAIC QBHW |  |  | 8 |  | 8 | White | 8 | 3#12, 1#10g
[18 empty] | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 9 | 9 | 13 | Siemens Bolt 10K BL |  |  | 9 |  | 9 | Pink | 9 | 2#10, 1#8g
[18 empty] | 11 | CS8369 | 250/50 | 3 | 3 | 50 | 3/4" | 4#8 |  |  |  | 10 | 10 | 14 |  |  |  | 10 |  | 10 | Purple | 10 | 3#10, 1#8g
[18 empty] | 12 | CS8264 | 208/50 | 1 | 2 | 50 | 1/2" | 3#8 |  |  |  | 11 | 11 |  |  |  |  | 11 |  | 11 | Brown | 11 | 3#8
[18 empty] | #REF! | CS8364C | 250/50 | 3 | 3 | 50 | 3/4" | 4#8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | 12 | 4#8
[18 empty] | 14 | CS8364CA34 | 250/50 | 3 | 3 | 50 | 3/4" | 4#8 |  |  |  | 13 | 13 | [8 empty] | 13 | 5#8
[18 empty] | 15 | 330C6W | 250/30 | 1 | 2 | 30/32 | 1/2" | 3#10 |  |  |  | 14 | 14 | [8 empty] | 14 | 3#6
[18 empty] | 16 | 330R6W | 250/30 | 1 | 2 | 30 | 1/2" | 3#10 |  |  |  | 15 | 15 | [8 empty] | 15 | 4#6
[18 empty] | 17 | 360C6W | 250/60 | 1 | 2 | 60 | 3/4" | 3#6 |  |  |  | 16 | 16 | [8 empty] | 16 | 5#6
[18 empty] | 18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 17 | 17 | [8 empty] | 17 | 4#4
[18 empty] | 19 | 360R6W | 250/60 | 1 | 2 | 60 | 3/4" | 3#6 |  |  |  | 18 | 18 | [8 empty] | 18 | 5#4
[18 empty] | 20 | 4100C9W | 250/100 | 3 | 3 | 100 | 1 1/4" | 4#3 |  |  |  | 19 | 19 | [8 empty] | 19 | 4#2
[18 empty] | 21 | 420C9W | 208/20 | 3 | 3 | 20 | 1/2" | 4#12 |  |  |  | 20 | 20 | [8 empty] | 20 | 5#2
[18 empty] | 22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 21 | 21 | [8 empty] | 21
[18 empty] | 23 | 420R9W | 208/20 | 3 | 3 | 20 | 1/2" | 4#12 |  |  |  | 22 | 22 | [8 empty] | 22
[18 empty] | #REF! | 430C7W | 480/30 | 3 | 3 | 30 | 1/2" | 4#10 | #REF! | #REF! | #REF! | #REF! | #REF! | [8 empty] | 23
[18 empty] | 25 | 430R7W | 480/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 24 | 23 | [8 empty] | 24
[18 empty] | 26 | 430R9W | 250/30 | 3 | 3 | 30 | 1/2" | 4#10 |  |  |  | 25 | 24 | [8 empty] | 25
[18 empty] | 27 | 460C9W | 208/60 | 3 | 3 | 60 | 3/4" | 4#6 |  |  |  | 26 | 25
[18 empty] | 28 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 27 | 26
[18 empty] | 29 | 520C9W | 120/208v/20a | 3 | 3 | 20 | 1/2" | 5#12 |  |  |  | 28 | 27
[18 empty] | 30 | 520R9W | 120/208v/20a | 3 | 3 | 20 | 1/2" | 5#12 |  |  |  | 29 | 28
[18 empty] | 31 | 530C6W | 200/415v/30a | 3 | 3 | 30/32 | 1/2" | 5#10 |  |  |  | 30 | 29
[18 empty] | 32 | 530R6W | 200/415v/30a | 3 | 3 | 30/32 | 1/2" | 5#10 |  |  |  | 31 | 30
[18 empty] | 33 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 32 | 31
[18 empty] | 34 | 530C7W | 277/480v/30a | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 33 | 32
[18 empty] | 35 | 530R7W | 277/480v/30a | 3 | 3 | 30 | 1/2" | 5#10 |  |  |  | 34 | 33
[18 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[18 empty] | 37 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 36 | 34
[18 empty] | 38 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 37 | 35
[18 empty] | 39 | 5100R6W | 220/415v/100a | 3 | 3 | 100 | 1 1/4" | 5#3 |  |  |  | 38 | 36
[18 empty] | 40 | 5100C7W | 277/480v/100a | 3 | 3 | 100 | 1 1/4" | 5#3 |  |  |  | 39 | 37
[18 empty] | 41 | 5100R7W | 277/480v/100a | 3 | 3 | 100 | 1 1/4" | 5#3 |  |  |  | 40 | 38
[18 empty] | 42 | 515R1 | 120/15 | 1 | 1 | 15 | 1/2" | 3#12
[18 empty] | 43 | 515R | 120/15 | 1 | 1 | 15 | 1/2" | 3#12
[18 empty] | 44 | 5-15R | 120/15 | 1 | 1 | 15 | 1/2" | 3#12
[18 empty] | 45 | 515R2 | 120/15 | 1 | 1 | 15 | 1/2" | 3#12
[18 empty] | 46 | 515R DUPLEX | 120/15 | 1 | 1 | 15 | 1/2" | 3#12
[18 empty] | 47 | 5-15R DUPLEX | 120/15 | 1 | 1 | 15 | 1/2" | 3#12
[18 empty] | 48 | 520R1 | 120/20 | 1 | 1 | 20 | 1/2" | 3#12
[18 empty] | 49 | 560R6W | 220/415v/60a | 3 | 3 | 60 | 1" | 5#6
[18 empty] | 50 | 560C7W | 277/480v/60a | 3 | 3 | 60 | 1" | 5#6
[18 empty] | 51 | 560R7W | 277/480v/60a | 3 | 3 | 60 | 1" | 5#6
[18 empty] | 52 | 560C9W | 120/208v/60a | 3 | 3 | 60 | 1" | 5#6
[18 empty] | 53 | 560R9W | 120/208v/60a | 3 | 3 | 60 | 1" | 5#6
[18 empty] | 54 | 5100C6W | 220/415v/100a | 3 | 3 | 100 | 1 1/4" | 5#3
[18 empty] | 55 | 520R | 120/20 | 1 | 1 | 20 | 1/2" | 3#12
[18 empty] | 56 | 5-20R | 120/20 | 1 | 1 | 20 | 1/2" | 3#12
[18 empty] | 57 | 520R2 | 120/20 | 1 | 1 | 20 | 1/2" | 3#12
[18 empty] | 58 | 520R DUPLEX | 120/20 | 1 | 1 | 20 | 1/2" | 3#12
[18 empty] | 59 | 5-20R DUPLEX | 120/20 | 1 | 1 | 20 | 1/2" | 3#12
[18 empty] | 60 | 520R4 | 120/20 | 1 | 1 | 20 | 1/2" | 3#12
[18 empty] | 61 | 520R QUAD | 120/20 | 1 | 1 | 20 | 1/2" | 3#12
[18 empty] | 62 | 5-20R QUAD | 120/20 | 1 | 1 | 20 | 1/2" | 3#12
[18 empty] | 63 | 520R4-2 CIRC | 120/20 | 1 | 1 | 20 | 1/2" | 6#12
[18 empty] | 64 | 530R1 | 120/30 | 1 | 1 | 30 | 1/2" | 3#10
[18 empty] | 65 | 530R | 120/30 | 1 | 1 | 30 | 1/2" | 3#10
[18 empty] | 66 | 5-30R | 120/30 | 1 | 1 | 30 | 1/2" | 3#10
[18 empty] | 67 | 550R1 | 120/50 | 1 | 1 | 50 | 1/2" | 3#8
[18 empty] | 68 | 550R | 120/50 | 1 | 1 | 50 | 1/2" | 3#8
[18 empty] | 69 | 5-50R | 120/50 | 1 | 1 | 50 | 1/2" | 3#8
[18 empty] | 70 | 615R1 | 208/15 | 1 | 2 | 15 | 1/2" | 3#12
[18 empty] | 71 | 615R | 208/15 | 1 | 2 | 15 | 1/2" | 3#12
[18 empty] | 72 | 6-15R | 208/15 | 1 | 2 | 15 | 1/2" | 3#12
[18 empty] | 73 | 615R2 | 208/15 | 1 | 2 | 15 | 1/2" | 3#12
[18 empty] | 74 | 615R DUPLEX | 208/15 | 1 | 2 | 15 | 1/2" | 3#12
[18 empty] | 75 | 6-15R DUPLEX | 208/15 | 1 | 2 | 15 | 1/2" | 3#12
[18 empty] | 76 | 615R4 | 208/15 | 1 | 2 | 15 | 1/2" | 3#12
[18 empty] | 77 | 615R QUAD | 208/15 | 1 | 2 | 15 | 1/2" | 3#12
[18 empty] | 78 | 6-15R QUAD | 208/15 | 1 | 2 | 15 | 1/2" | 3#12
[18 empty] | 79 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[18 empty] | 80 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[18 empty] | 81 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[18 empty] | 82 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[18 empty] | 83 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[18 empty] | 84 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[18 empty] | 85 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[18 empty] | 86 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[18 empty] | 87 | 620R1 | 208/20 | 1 | 2 | 20 | 1/2" | 3#12
[18 empty] | 88 | 620R | 208/20 | 1 | 2 | 20 | 1/2" | 3#12
[18 empty] | 89 | 6-20R | 208/20 | 1 | 2 | 20 | 1/2" | 3#12
[18 empty] | 90 | 630R1 | 208/30 | 1 | 2 | 30 | 1/2" | 3#10
[18 empty] | 91 | 630R | 208/30 | 1 | 2 | 30 | 1/2" | 3#10
[18 empty] | 92 | 6-30R | 208/30 | 1 | 2 | 30 | 1/2" | 3#10
[18 empty] | 93 | 9C33U0 | 208/30 | 1 | 2 | 30 | 1/2" | 4#10
[18 empty] | 94 | 9C34U0 | 208/30 | 3 | 3 | 30 | 1/2" | 4#10
[18 empty] | 95 | 9C53U0 | 208/50 | 1 | 2 | 50 | 3/4" | 3#8
[18 empty] | 96 | 9C53U2 | 208/50 | 1 | 2 | 50 | 3/4" | 3#8
[18 empty] | 97 | 9C54U0 | 208/50 | 3 | 3 | 50 | 3/4" | 4#8
[18 empty] | 98 | 9C54U2 | 208/50 | 3 | 3 | 50 | 3/4" | 4#8
[18 empty] | 99 | 9C54U2/C75 | 208/50 | 3 | 3 | 50 | 3/4" | 4#8
[18 empty] | 100 | 9C54U2/C75 | 208/50 | 3 | 3 | 50 | 3/4" | 4#8
[18 empty] | 101 | 9C63U2 | 208/60 | 1 | 2 | 60 | 3/4" | 3#6
[18 empty] | 102 | L1420R1 | 120/208/20 | 1 | 2 | 20 | 1/2" | 4#12
[18 empty] | 103 | L1420R | 120/208/20 | 1 | 2 | 20 | 1/2" | 4#12
[18 empty] | 104 | L14-20R | 120/208/20 | 1 | 2 | 20 | 1/2" | 4#12
[18 empty] | 105 | L1430R1 | 120/208/30 | 1 | 2 | 30 | 1/2" | 4#10
[18 empty] | 234 | L1430R | 120/208/30 | 1 | 2 | 30 | 1/2" | 4#10
[18 empty] | 235 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[18 empty] | 236 | F308-25 | 208/50 | 1 | 2 | 50 | 3/4" | 3#8
[18 empty] | 237 | F306-26 | 208/60 | 1 | 2 | 60 | 3/4" | 3#6
[18 empty] | 238 | F412-21 | 120/208/15 | 1 | 2 | 15 | 1/2" | 4#12
[18 empty] | 239 | F412-31 | 208/15 | 3 | 3 | 15 | 1/2" | 4#12
[18 empty] | 240 | F410-23 | 120/208/30 | 1 | 2 | 30 | 1/2" | 4#10
[18 empty] | 241 | F410-33 | 208/30 | 3 | 3 | 30 | 1/2" | 4#10
[18 empty] | 242 | F408-24 | 208/40 | 1 | 2 | 40 | 3/4" | 4#8
[18 empty] | 243 | F408-35 | 250/50 | 3 | 3 | 50 | 3/4" | 4#8
[18 empty] | 244 | F406-36 | 208/60 | 3 | 3 | 60 | 3/4" | 4#6
[18 empty] | 245 | F404-37 | 208/70 | 3 | 3 | 70 | 1" | 4#4
50
100
200
500
750
1000
Note on AQ14: dlee: Once the breaker manufacturer is determined on the first cable, all cables below would be the same.